## Sheet1
TAG | ASSET | MODEL | STANDARD UNITS | UNITS DISPLAY NAME | DESCRIPTION | SOURCE TAG | POSITIVE RESIDUAL THRESHOLD | NEGATIVE RESIDUAL THRESHOLD | ASSET BLUEPRINT
ActivePower | VAP01 | DRIVE-TRAIN | kW | kW | Electrical Active Power | VAP:Valdepero.Val01.Electrical.ActivePower | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Rotor_RPM | VAP01 | DRIVE-TRAIN | RPM | rpm | Rotor RPM rpm | VAP:Valdepero.Val01.Rotor.RPM | 0.5 | 0.5 | WD_VESTAS_V90_2MW_VAP
Generator_RPM | VAP01 | DRIVE-TRAIN | RPM | rpm | Actual generator rpm | VAP:Valdepero.Val01.Generator.RPM | 20 | 20 | WD_VESTAS_V90_2MW_VAP
Nacelle_Temp | VAP01 | DRIVE-TRAIN | Celsius | Celsius | Actual nacelle Temp. | VAP:Valdepero.Val01.Nacelle.Temperature | 1 | 1 | WD_VESTAS_V90_2MW_VAP
GearBearing_Temp | VAP01 | DRIVE-TRAIN | Celsius | degC | Actual gear bearing temp. | VAP:Valdepero.Val01.Gear.BearingTemperature | 1.5 | 1.5 | WD_VESTAS_V90_2MW_VAP
GearOil_Temp | VAP01 | DRIVE-TRAIN | Celsius | degC | Actual gear oil temp. | VAP:Valdepero.Val01.Gear.OilTemperature | 1.5 | 1.5 | WD_VESTAS_V90_2MW_VAP
ApparentPower | VAP01 | ELECTRONICS | kW | KVA | sqrt(Active^2 + Reactive^2) | ApparentPower | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Nacelle_Temp | VAP01 | ELECTRONICS | Celsius | Celsius | Actual nacelle Temp. | VAP:Valdepero.Val01.Nacelle.Temperature | 2.5 | 2.5 | WD_VESTAS_V90_2MW_VAP
Ambient_Temp | VAP01 | ELECTRONICS | Celsius | degC | Actual ambient temperature | VAP:Valdepero.Val01.Ambient.Temperature | 2.5 | 2.5 | WD_VESTAS_V90_2MW_VAP
Electrical_Current_MEDIAN | VAP01 | ELECTRONICS | Amps | A |  | Electrical_Current_MEDIAN | NaN | NaN | WD_VESTAS_V90_2MW_VAP
GridBusbar_Temp | VAP01 | ELECTRONICS | Celsius | degC | BusBar Temperature | VAP:Valdepero.Val01.Grid.BusbarTemperature | 2.5 | 2.5 | WD_VESTAS_V90_2MW_VAP
GridRotorInvPhase1_Temp | VAP01 | ELECTRONICS | Celsius | degC | Actual temperature phase 1 | VAP:Valdepero.Val01.Grid.RotorInvPhase1Temperature | 2 | 2 | WD_VESTAS_V90_2MW_VAP
GridRotorInvPhase2_Temp | VAP01 | ELECTRONICS | Celsius | degC | Actual temperature phase 2 | VAP:Valdepero.Val01.Grid.RotorInvPhase2Temperature | 2 | 2 | WD_VESTAS_V90_2MW_VAP
GridRotorInvPhase3_Temp | VAP01 | ELECTRONICS | Celsius | degC | Actual temperature phase 3 | VAP:Valdepero.Val01.Grid.RotorInvPhase3Temperature | 2 | 2 | WD_VESTAS_V90_2MW_VAP
Inverter_Temp | VAP01 | ELECTRONICS | Celsius | degC | Inverter Temperature | VAP:Valdepero.Val01.Inverter.Temperature | 2 | 2 | WD_VESTAS_V90_2MW_VAP
GridInverterPhase1_Temp | VAP01 | ELECTRONICS | Celsius | degC | Grid inv. phase 1 Temp | VAP:Valdepero.Val01.Grid.InverterPhase1Temperature | 2 | 2 | WD_VESTAS_V90_2MW_VAP
ApparentPower | VAP01 | GENERATOR | kW | KVA | sqrt(Active^2 + Reactive^2) | ApparentPower | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Generator_RPM | VAP01 | GENERATOR | RPM | rpm | Actual generator rpm | VAP:Valdepero.Val01.Generator.RPM | 15 | 15 | WD_VESTAS_V90_2MW_VAP
Nacelle_Temp | VAP01 | GENERATOR | Celsius | Celsius | Actual nacelle Temp. | VAP:Valdepero.Val01.Nacelle.Temperature | 2 | 2 | WD_VESTAS_V90_2MW_VAP
ElectricalPhase1_Current | VAP01 | GENERATOR | Amps | A | Electrical Current Phase1 | VAP:Valdepero.Val01.Electrical.CurrentPhase1 | 50 | 50 | WD_VESTAS_V90_2MW_VAP
ElectricalPhase2_Current | VAP01 | GENERATOR | None | A | Electrical Current Phase2 | VAP:Valdepero.Val01.Electrical.CurrentPhase2 | 50 | 50 | WD_VESTAS_V90_2MW_VAP
ElectricalPhase3_Current | VAP01 | GENERATOR | Amps | A | Electrical Current Phase3 | VAP:Valdepero.Val01.Electrical.CurrentPhase3 | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Electrical_Current_MEDIAN | VAP01 | GENERATOR | Amps | A |  | Electrical_Current_MEDIAN | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Electrical_Current_SPREAD | VAP01 | GENERATOR | None | A |  | Electrical_Current_SPREAD | 50 | NaN | WD_VESTAS_V90_2MW_VAP
GeneratorBearing_Temp | VAP01 | GENERATOR | None |  | Actual Gen. Bearing temp. | VAP:Valdepero.Val01.Generator.BearingTemperature | 3 | 4 | WD_VESTAS_V90_2MW_VAP
GeneratorPhase1_Temp | VAP01 | GENERATOR | Celsius | degC | Actual Generator phase1 temp. | VAP:Valdepero.Val01.Generator.Phase1Temperature | 2.5 | 5 | WD_VESTAS_V90_2MW_VAP
GeneratorPhase2_Temp | VAP01 | GENERATOR | Celsius | degC | Actual Generator phase2 temp. | VAP:Valdepero.Val01.Generator.Phase2Temperature | 2.5 | 5 | WD_VESTAS_V90_2MW_VAP
GeneratorPhase3_Temp | VAP01 | GENERATOR | Celsius | degC | Actual Generator phase3 temp. | VAP:Valdepero.Val01.Generator.Phase3Temperature | 2.5 | 5 | WD_VESTAS_V90_2MW_VAP
GeneratorSlipRing_Temp | VAP01 | GENERATOR | Celsius | degC | Actual generator slipring temp. | VAP:Valdepero.Val01.Generator.SlipRingTemperature | 2.5 | 5 | WD_VESTAS_V90_2MW_VAP
Ambient_Temp | VAP01 | hub | Celsius | degC | Actual ambient temperature | VAP:Valdepero.Val01.Ambient.Temperature | 1 | 1 | WD_VESTAS_V90_2MW_VAP
Meteorological_Temp | VAP01 | hub | Celsius | degC | Meteorological Temperature | VAP:Valdepero.Val01.Meteorological.Temperature | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Spinner_Temp | VAP01 | hub | Celsius | degC | Actual spinner temperature | VAP:Valdepero.Val01.Spinner.Temperature | 1 | 2.5 | WD_VESTAS_V90_2MW_VAP
ControllerHub_Temp | VAP01 | hub | None |  | Actual Hub controller temp. | VAP:Valdepero.Val01.Controller.HubTemperature | 1 | 2.5 | WD_VESTAS_V90_2MW_VAP
ActivePower | VAP01 | hydraulic_oil | kW | kW | Electrical Active Power | VAP:Valdepero.Val01.Electrical.ActivePower | 20 | 20 | WD_VESTAS_V90_2MW_VAP
Ambient_Temp | VAP01 | hydraulic_oil | Celsius | degC | Actual ambient temperature | VAP:Valdepero.Val01.Ambient.Temperature | 1 | 1 | WD_VESTAS_V90_2MW_VAP
HydraulicOil_Temp | VAP01 | hydraulic_oil | Celsius | degC | Actual hydraulic oil temp. | VAP:Valdepero.Val01.Hydraulic.OilTemperature | 1 | 3 | WD_VESTAS_V90_2MW_VAP
RotorHydraulicOil_Temp | VAP01 | hydraulic_oil | Celsius | degC | Rotor Hydraulic Oil Temperature | VAP:Valdepero.Val01.Rotor.HydraulicOilTemperature | 1 | 3 | WD_VESTAS_V90_2MW_VAP
RotorHydraulicOil_Press | VAP01 | hydraulic_oil | Bar | bar | Rotor Hydraulic Oil Pressure | VAP:Valdepero.Val01.Rotor.HydraulicOilPressure | 15 | 15 | WD_VESTAS_V90_2MW_VAP
HydraulicOil_Press | VAP01 | hydraulic_oil | Bar | bar | Actual hydraulic pressure | VAP:Valdepero.Val01.Hydraulic.OilPressure | 15 | 15 | WD_VESTAS_V90_2MW_VAP
ActivePower | VAP01 | nacelle | kW | kW | Electrical Active Power | VAP:Valdepero.Val01.Electrical.ActivePower | 15 | 15 | WD_VESTAS_V90_2MW_VAP
Nacelle_Temp | VAP01 | nacelle | Celsius | Celsius | Actual nacelle Temp. | VAP:Valdepero.Val01.Nacelle.Temperature | 1 | 1.5 | WD_VESTAS_V90_2MW_VAP
Ambient_Temp | VAP01 | nacelle | Celsius | degC | Actual ambient temperature | VAP:Valdepero.Val01.Ambient.Temperature | 1 | 1 | WD_VESTAS_V90_2MW_VAP
Meteorological_Temp | VAP01 | nacelle | Celsius | degC | Meteorological Temperature | VAP:Valdepero.Val01.Meteorological.Temperature | NaN | NaN | WD_VESTAS_V90_2MW_VAP
ActivePower | VAP01 | PERFORMANCE | kW | kW | Electrical Active Power | VAP:Valdepero.Val01.Electrical.ActivePower | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Rotor_RPM | VAP01 | PERFORMANCE | RPM | rpm | Rotor RPM rpm | VAP:Valdepero.Val01.Rotor.RPM | 1 | 1 | WD_VESTAS_V90_2MW_VAP
Ambient_WindSpeed | VAP01 | PERFORMANCE | MetersPerSecond | m/sec | Actual windspeed | VAP:Valdepero.Val01.Ambient.WindSpeed | 0.5 | 0.5 | WD_VESTAS_V90_2MW_VAP
Meteorological_WindSpeed | VAP01 | PERFORMANCE | MetersPerSecond | m/sec | Meteorological Wind Speed | VAP:Valdepero.Val01.Meteorological.WindSpeed | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Air_Density_CV | VAP01 | PERFORMANCE | None | Kg/m3 |  | Air_Density_CV | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Performance_belowthreshold_density | VAP01 | PERFORMANCE | None |  |  | Performance_belowthreshold_density | 0.2 | NaN | WD_VESTAS_V90_2MW_VAP
ActivePower | VAP01 | PITCH | kW | kW | Electrical Active Power | VAP:Valdepero.Val01.Electrical.ActivePower | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Rotor_RPM | VAP01 | PITCH | RPM | rpm | Rotor RPM rpm | VAP:Valdepero.Val01.Rotor.RPM | 0.5 | 0.5 | WD_VESTAS_V90_2MW_VAP
RotorSystem_RPM | VAP01 | PITCH | RPM | rpm | Actual rotor rpm | VAP:Valdepero.Val01.RotorSystem.RotorRPM | 0.5 | 0.5 | WD_VESTAS_V90_2MW_VAP
Ambient_WindSpeed | VAP01 | PITCH | MetersPerSecond | m/sec | Actual windspeed | VAP:Valdepero.Val01.Ambient.WindSpeed | 0.5 | 0.5 | WD_VESTAS_V90_2MW_VAP
BladesPitch_Angle | VAP01 | PITCH | None | deg | Rotor Blades Pitch Angle | VAP:Valdepero.Val01.Rotor.BladesPitchAngle1 | 1.5 | 1.5 | WD_VESTAS_V90_2MW_VAP
BladesRotorSystemPitch_Angle | VAP01 | PITCH | None | deg | Actual pitch angle | VAP:Valdepero.Val01.RotorSystem.BladesPitchAngle | 2 | 1.5 | WD_VESTAS_V90_2MW_VAP
Pitch_deviation_Low_wind | VAP01 | PITCH | None | deg |  | Pitch_deviation_Low_wind | 1 | 1 | WD_VESTAS_V90_2MW_VAP
Pitch_deviation_High_wind | VAP01 | PITCH | None | def |  | Pitch_deviation_High_wind | 1.6 | 1.6 | WD_VESTAS_V90_2MW_VAP
Grid_ApparentPower | VAP01 | TRANSFORMER | kW | kVA | S=sqrt(grid_P^2 + grid_Q^2) | Grid_ApparentPower | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Ambient_Temp | VAP01 | TRANSFORMER | Celsius | degC | Actual ambient temperature | VAP:Valdepero.Val01.Ambient.Temperature | 1 | 1 | WD_VESTAS_V90_2MW_VAP
GridPhase1_Current | VAP01 | TRANSFORMER | Amps | A | Actual grid current phase 1 | VAP:Valdepero.Val01.Grid.CurrentPhase1 | 50 | 50 | WD_VESTAS_V90_2MW_VAP
GridPhase2_Current | VAP01 | TRANSFORMER | Amps | A | Actual grid current phase 2 | VAP:Valdepero.Val01.Grid.CurrentPhase2 | 50 | 50 | WD_VESTAS_V90_2MW_VAP
GridPhase3_Current | VAP01 | TRANSFORMER | Amps | A | Actual grid current phase 3 | VAP:Valdepero.Val01.Grid.CurrentPhase3 | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Grid_Current_MEDIAN | VAP01 | TRANSFORMER | Amps | A |  | Grid_Current_MEDIAN | 50 | 50 | WD_VESTAS_V90_2MW_VAP
Grid_Current_SPREAD | VAP01 | TRANSFORMER | None | A |  | Grid_Current_SPREAD | 50 | NaN | WD_VESTAS_V90_2MW_VAP
HVTrafoPhase1_Temp | VAP01 | TRANSFORMER | Celsius | degC | Actual temperature phase 1 | VAP:Valdepero.Val01.HVTrafo.Phase1Temperature | 2 | 2.5 | WD_VESTAS_V90_2MW_VAP
HVTrafoPhase2_Temp | VAP01 | TRANSFORMER | Celsius | degC | Actual temperature phase 2 | VAP:Valdepero.Val01.HVTrafo.Phase2Temperature | 2 | 2.5 | WD_VESTAS_V90_2MW_VAP
HVTrafoPhase3_Temp | VAP01 | TRANSFORMER | Celsius | degC | Actual temperature phase 3 | VAP:Valdepero.Val01.HVTrafo.Phase3Temperature | 2 | 2.5 | WD_VESTAS_V90_2MW_VAP
ReactivePower | VAP01 | voltage | kW | KVAr | Electrical Reactive Power | VAP:Valdepero.Val01.Electrical.ReactivePower | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Grid_ReactivePower | VAP01 | voltage | kW | KVAr | Actual reactive power | VAP:Valdepero.Val01.Grid.ReactivePower | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Electrical_Voltage_MEDIAN | VAP01 | voltage | Volts | V |  | Electrical_Voltage_MEDIAN | 10 | 10 | WD_VESTAS_V90_2MW_VAP
Electrical_Voltage_SPREAD | VAP01 | voltage | None | V |  | Electrical_Voltage_SPREAD | 5 | NaN | WD_VESTAS_V90_2MW_VAP
Grid_Voltage_MEDIAN | VAP01 | voltage | Volts | V |  | Grid_Voltage_MEDIAN | 10 | 10 | WD_VESTAS_V90_2MW_VAP
Grid_Voltage_SPREAD | VAP01 | voltage | None | V |  | Grid_Voltage_SPREAD | 4 | NaN | WD_VESTAS_V90_2MW_VAP
ElectricalPhase1_Voltage | VAP01 | voltage | Volts | V | Electrical Voltage Phase1 | VAP:Valdepero.Val01.Electrical.VoltagePhase1 | NaN | NaN | WD_VESTAS_V90_2MW_VAP
ElectricalPhase2_Voltage | VAP01 | voltage | Volts | V | Electrical Voltage Phase2 | VAP:Valdepero.Val01.Electrical.VoltagePhase2 | NaN | NaN | WD_VESTAS_V90_2MW_VAP
ElectricalPhase3_Voltage | VAP01 | voltage | Volts | V | Electrical Voltage Phase3 | VAP:Valdepero.Val01.Electrical.VoltagePhase3 | NaN | NaN | WD_VESTAS_V90_2MW_VAP
GridPhase3_Voltage | VAP01 | voltage | Volts | V | Actual grid voltage phase 3 | VAP:Valdepero.Val01.Grid.VoltagePhase3 | NaN | NaN | WD_VESTAS_V90_2MW_VAP
GridPhase1_Voltage | VAP01 | voltage | Volts | V | Actual grid voltage phase 1 | VAP:Valdepero.Val01.Grid.VoltagePhase1 | NaN | NaN | WD_VESTAS_V90_2MW_VAP
GridPhase2_Voltage | VAP01 | voltage | Volts | V | Actual grid voltage phase 2 | VAP:Valdepero.Val01.Grid.VoltagePhase2 | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Electrical_CosPhi | VAP01 | voltage | None |  | Electrical CosPhi | VAP:Valdepero.Val01.Electrical.CosPhi | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Grid_CosPhi | VAP01 | voltage | None |  | Actual phase | VAP:Valdepero.Val01.Grid.CosPhi | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Ambient_WindDir | VAP01 | yaw | None | deg | Absolute wind direction | VAP:Valdepero.Val01.Ambient.WindDir | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Ambient_WindDir (vs Meteorological_WindDir) | VAP01 | yaw | None | deg |  | VAP:Valdepero.Val01.Ambient.WindDir | 12 | 12 | WD_VESTAS_V90_2MW_VAP
Meteorological_WindDir | VAP01 | yaw | None | deg | Meteorological Wind Direction | VAP:Valdepero.Val01.Meteorological.WindDirection | NaN | NaN | WD_VESTAS_V90_2MW_VAP
Nacelle_Dir (vs Ambient.WindDir) | VAP01 | yaw | None | deg |  | VAP:Valdepero.Val01.Nacelle.Direction | 12 | 12 | WD_VESTAS_V90_2MW_VAP